| PHARMACY REFRIGERATOR TEMPERATURE MONITORING RECORDING FORM |  |  |  |
| --- | --- | --- | --- |
| Home Name: |  |  |  |
| Base/Clinic & Location: |  | Fridge Serial Number: |  |
| Person Responsible: |  | Named Deputy: |  |
| Month & Year |  |  |  |

- Please record MINIMUM and MAXIMUM temperature readings DAILY (MONDAY to SUNDAY).

- If the fridge temperature readings are outside the required range (+2 to+8°C) please check the points in the guidelines section make a list of fridge contents and contact the supplying pharmacy to check about medication stability and advice on next steps.

- Please record in comments date fridge defrosted/cleaned.

| DATE | TIME TAKEN | CURRENT TEMP (Between +2° to+8°C) | MINIMUM TEMP (Not below +2°C) | MAXIMUM TEMP (Not above +8°C) | Actions/comments taken if outside +2 to 8°C and indicate if thermostat was reset | Signature | COMMENTS | GUIDELINES |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  | Has the fridge been disconnected/turned off/or has there been a power cut? Has the fridge door been left open? Has the fridge been opened frequently in the last few hours or was there an immunisation session the previous day? Was the thermometer reset correctly after the last recorded temperatures? If used, is the temperature probe correctly placed inside the fridge? Is the fridge more than half full? Does the fridge need defrosting? Has the thermometer been accidentally damaged? Have the fridge and thermometer been maintained/serviced according to the manufacturer’s advice? |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |

N.B. During periods of the door being open, e.g. when rotating or putting away stock, the fridge temperature may increase to over +8°C. The door should be closed as soon as possible.  Ensure the current temperature returns to between +2 to+8°C within one hour.  Reset the max/min thermometer only when the current temperature is between +2 to+8°C. If after one hour the current temperature remains out of range take action according to local procedure regarding fridge functioning. Please retain evidence in compliance with this self-assessment for future quality validation.

Fridge Monitoring Flowchart

Check fridge temperature daily (Monday to Sunday)

Record on Fridge Monitoring Record Sheet daily (Monday to Sunday), minimum, maximum and current temperature readings in °C

If minimum, maximum and current temperature readings are between +2°C to + 8°C reset thermometer immediately after recording

*If current temperature outside +2°C to + 8°C Do not use any fridge medication until advice obtained

- Seek advice from the supplying pharmacy

N.B.   During periods of the door being open, e.g. when rotating or putting away stock, the fridge temperature may increase to over +8°C.  The door should be closed as soon as possible.  Ensure the current temperature returns to between +2 to +8°C within one hour. Reset the max/min thermometer only when the current temperature is between +2 to +8°C.  If after one hour the current temperature remains out of range take action as below.